## Cover Cover
SUN2000HA V500R023C00 Communication Matrix
| Document Version | 02
| Release date | 2023 - 07 - 18
Huawei Technologies Co., Ltd.
Copyright © Huawei Technologies Co., Ltd. 2023. All Rights Reserved.
Without the written permission of the Company, no unit or individual shall excerpt or copy part or all of the contents of this document without authorization, and shall not disseminate it in any form.
Trademark Statement
and other Huawei trademarks are trademarks of Huawei Technologies Co., Ltd.
All other trademarks or registered trademarks mentioned in this document are the property of their respective owners.
Attention.
The products, services, or features you purchase are subject to Huawei's commercial contracts and clauses. All or part of the products, services, or features described in this document may not be within your purchase scope or usage scope. Unless otherwise specified in the contract, Huawei makes no express or implied representation or warranty in this document.
This document may be updated irregularly due to product version upgrade or other reasons. Unless otherwise agreed, this document is intended as a guide, and all statements, information, and recommendations in this document do not constitute a warranty of any kind, express or implied.
Huawei Technologies Co., Ltd.
Address: | Huawei Headquarters Office Building, Bantian, Longgang District, Shenzhen, China (postcode: 518129)
Website: | https://e.huawei.com

## foreword
Overview
This document describes the communication matrix of the inverter monitoring product.
Audience
This document is intended for the following engineers: ● Network planning engineers ● System engineer ● Field engineer ● Network on-duty personnel ● Network operator ● Network management engineers
structure
Source Device | Source device name.
Source IP address | Indicates the source device IP address. The IP address name must comply with the IP address plan.
Source Port | Indicates the source port number or port range. If Source Port is set to Random, it indicates that the port number ranges from 1024 to 65535. There is no limit on the fixed port number. A well-known protocol must use a common port in the industry.
Destination device | Indicates the name of the destination device.
Destination IP address | Indicates the IP address of the destination device. The IP address name must comply with the IP address plan.
Destination Port | Indicates the destination port number or port range, which refers to the port on the server that provides services.
Agreement | Indicates the type of the protocol used, such as TCP, UDP, and SCTP.
Port Description | Description of the service provided by the port.
Whether the port can be changed | Indicates whether the port can be changed through the software configuration interface or command line.
Authentication mode | Authentication mode used for communication with the port, for example, user name and password.
Encryption mode | Encryption mode used for communication between the and port.
Home Plane | This parameter specifies the plane to which a port belongs, for example, the port used for the O&M plane, the port used for the control/signaling plane, the port used for the user plane, or the port shared by the three planes.
Version | Indicates the version of the destination device corresponding to the port.
Special Scenarios | Special scenario of the port.
Modification records
The change history records the description of each document update. The latest issue contains all the updates in earlier issue.
Document Version | Update Date | Update Description
01 | 2022 - 11 - 05 | This issue is the first official release.
02 | 2023 - 07 - 18 | Delete APP USB Symmetric encryption of data at the application layer.
Note on A3: 读者对象与“文档指南”中定义的角色一致

## Body
Source Device | Source IP address | Source Port | Destination device | Destination IP address | Destination Port | Protocol | Port Description | Whether the port can be changed | Authentication mode | Encryption mode | Home Plane | Version | Special Scenario
Mobile app (Android/iOS) | Not involved. | Not involved. | Inverter | Not involved. | Not involved. | MODBUS | The app communicates with the inverter through a USB data cable or USB-WLAN-Adapter. The application layer protocol uses Modbus-RTU. | No. | User name and password authentication in second challenge mode | WLAN: Symmetric encryption at the application layer + Wi-Fi WPA2 | Port for the control/signaling plane | SUN2000HA V500R023C00 | Not involved.
SACU/third-party management system | Not involved. | Not involved. | Inverter | Not involved. | Not involved. | MODBUS | The SACU or third-party management system communicates with the inverter through RS485. The application layer protocol is Modbus-RTU. | Not involved. | None | Not encrypted | Port for the control/signaling plane | SUN2000HA V500R023C00 | Not involved.
SACU | Not involved. | Not involved. | Inverter | Not involved. | Not involved. | MODBUS | The SACU communicates with the inverter through the AC MBUS. The application layer protocol is Modbus-RTU. | Not involved. | None | Not encrypted | Port for the control/signaling plane | SUN2000HA V500R023C00 | Not involved.
Sdongle | Not involved. | Not involved. | Inverter | Not involved. | Not involved. | MODBUS | The SDongle communicates with the inverter through USB. The application layer protocol is Modbus-RTU. | Not involved. | None | Not encrypted | Port for the control/signaling plane | SUN2000HA V500R023C00 | Not involved.
Note on A1: Administrator: IT Division: 描述项解释 源设备名称。 写作要求 1、注意大小写。例如NodeB 举例 1、M2000 Server 2、NodeB
Note on B1: Administrator: 描述项解释 源设备IP 写作要求 填写源设备端哪里的IP，该内容能够指导用户转换为所配置的具体IP地址。IP命名方式请遵循产品自身IP规划名称。 举例 1、OMU单板IP 2、Console Client PC IP
Note on C1: Administrator: 描述项解释 源端端口号或者端口范围。 写作要求 1、知名协议需要使用业界通用的端口 2、源设备所开放的具体端口号，如存在多个端口号，则连续的情况下，直接以10000～10006的形式表述；非连续端口的情况，则以半角逗号间隔列举，如31280, 31780 3、如果一个端口供SSL加密使用，一个端口给不加密情况使用，建议直接在具体端口号后面以半角括号说明如123(SSL), 125，同时在端口说明中具体描述
Note on D1: Administrator: 描述项解释 目的设备名称。 写作要求 1、注意大小写。例如NodeB 2、对于本机内部的通讯端口，设备名称可以写为Localhost 举例 1、M2000 Server 2、NodeB
Note on E1: Administrator: 描述项解释 目的设备IP 写作要求 填写目的设备端哪里的IP，该内容能够指导用户转换为所配置的具体IP地址。IP命名方式请遵循产品自身IP规划名称。 举例 1、OMU单板IP 2、Console Client PC IP
Note on F1: Administrator: 描述项解释 目的端端口号或者端口范围，主要指提供服务的端口。 写作要求 1、知名协议需要使用业界通用的端口 2、目的设备所开放的具体端口号，如存在多个端口号，则连续的情况下，直接以10000～10006的形式表述；非连续端口的情况，则以半角逗号间隔列举，如31280, 31780 3、如果一个端口供SSL加密使用，一个端口给不加密情况使用，建议直接在具体端口号后面以半角括号说明如123(SSL), 125，同时在端口说明中具体描述
Note on G1: Administrator: 描述项解释 使用的协议类型，主要是传输层协议，TCP、UDP、SCTP等。
Note on H1: Administrator: 描述项解释 端口提供的服务详细描述。 写作要求 涉及的缩略语应在对应括号内提供中英文全名。 必填：用于xxx功能。需写完整，例如，对于M2000代理LMT的情况，不能只写用于网元LMT，而应写明用于M2000代理LMT等。 必填：传输xx信息 必填：使用的应用层协议。 (可选)，部署位置：对于非物理实体，需要写明通常的部署位置，如对于Web浏览器，应写明通常部署在客户端上，在使用Citrix方案时，则通常部署在Citrix客户端上。
Note on I1: Administrator: 描述项解释 端口是否可以通过软件配置界面或命令行进行更改。从整个网络层面来看，如果目的端口所在设备为其他设备，非本设备，则为不涉及。 写作要求 中文填写“是”或者“否”， 英文填写“Yes”或者“No”。 举例 如设备提供SSH服务，端口为22，通过软件管理界面是否可以改为其他端口如5000。
Note on J1: Administrator: 与端口通讯采用的认证方式，如用户名/密码。 如果该端口不需要进行认证就可以建立连接通讯，则中文填写“无”，英文填写“None”。
Note on K1: Administrator: 描述项解释 与端口通讯采用的加密方式。如SSL？SSH？如涉及具体加密协议版本，需注明。 如不进行加密，则中文填写“无”，英文填写“None”。
Note on L1: Administrator: 描述项解释 描述端口所属哪个平面，如用于OM面的端口、用于控制/信令面的端口、用于用户面的端口、三个面共用的端口等
Note on M1: Administrator: 描述项解释 端口所对应目的设备的版本信息，写到C版本为止，即VxxxRyyyCzz • 对于只适用于个别版本的端口，直接写版本号。 • 对于基础版本引入的，即所有版本通用的，写成所有版本。 • 对于从某个版本才引入的，写明xx版本及之后版本。 • 对于基础版本引入，但到某具体版本删除了的，写明xx版本之前的版本（不包括xx版本在内）。 • 其他特殊情况（如从某个版本引入，只有又在哪个版本删除的，按实际情况给出具体描述说明。）
Note on N1: Administrator: 描述项解释 端口应用的特殊场景。 写作要求 在不涉及的情况下，中文填写“无“，英文填写“None”。 涉及的缩略语应在对应括号内提供中英文全名。 包括但不限于以下特殊场景（均为可选，有则写，没有就不写） 特殊组网：如异地双机、PRS和M2000共部署等情况，写明具体场景下的具体端口情况。 端口为多选一：说明选择条件，即什么情况下应选择什么端口等。不涉及不写。 应用网元限制：即使用该端口进行连接的网元。 操作系统限制：即仅用于什么操作系统，如仅用于Solaris等